## Data
Thermopen C | Maverick F | Temp C | P1 | P2 | P3 | Average | Std P.Dev | StdDev/Avg % | Notes
3.6 | 43 | 3.6 | 640000 | 640000 | 640000 | 640000 | 0 | 100
4 | 43 | 4 | 620000 | 620000 | 620000 | 620000 | 0 | 100
14.3 | XXXXX | 14.3 | 380000 | 380000 | 390000 | 383333 | 4714.0452 | 98.77
17 | 63 | 17 | 350000 | 350000 | 350000 | 350000 | 0 | 100
80.3 | 176 | 80.3 | 24600 | 24600 | 25100 | 24767 | 235.7023 | 99.05
83.6 | 184 | 83.6 | 21200 | 21400 | 21700 | 21433 | 205.4805 | 99.04
90 | 194 | 90 | 17720 | 18050 | 18050 | 17940 | 155.5635 | 99.13
92 | 198 | 92 | 16030 | 16150 | 16220 | 16133 | 78.4573 | 99.51
100 | 212 | 100 | 12900 | 12950 | 13250 | 13033 | 154.5603 | 98.81
| 225 | 107.2 | 9570 | 9560 | 9750 | 9627 | 87.3053 | 99.09
| 240 | 115.6 | 7730 | 7750 | 7870 | 7783 | 61.8241 | 99.21
| 260 | 126.7 | 5810 | 5840 | 5920 | 5857 | 46.428 | 99.21
| 280 | 137.8 | 4400 | 4440 | 4480 | 4440 | 32.6599 | 99.26
| 289 | 142.8 | 3880 | 3930 | 3960 | 3923 | 32.9983 | 99.16
| 301 | 149.4 | 3210 | 3250 | 3280 | 3247 | 28.6744 | 99.12
| 335 | 168.3 | 1977 | 1998 | XXXXXX | 1988 | 10.5 | 99.47 | Error inputing values, missed one probe
| 344 | 173.3 | 1818 | 1338 | 1850 | 1669 | 234.1813 | 85.97 | Not Used to calibrate due to excessive error!
| 375 | 190.6 | 1167 | 1176 | 1185 | 1176 | 7.3485 | 99.38
| 391 | 199.4 | 985 | 1000 | 1007 | 997 | 9.1773 | 99.08
| 410 | 210 | 774 | 772 | 776 | 774 | 1.633 | 99.79
| 450 | 232.2 | 645 | 645 | 645 | 645 | 0 | 100 | Maverick maxes out at 410F. Used analog thermometers as reference
Above table shows the resistance values as measured by my multimeter vs. two known digital thermometers, a Thermapen (3.6-100C) and Maverick/RediCheck for above 100C.
Did my best to make sure temperatures were stable in the fridge, room temp, electric water heater and convection oven. Most accurate readings were 63F-212F.
Least accurate is likely around the 410-450F range.
On the following sheet, are the above temperatures and average resistance formatted for the 'coeff' tool available on http://thermistor.sf.net
Which I used to calculate the following Steinhart-Hart coefficients:
a[0] = 1.211111230054231e-04
a[1] = 3.762691542377820e-04
a[2] = -1.735716635603824e-05
a[3] = 6.538964941154940e-07
Maximal error=6.82365 at temperature=232.2

## SH Calibration
3.6 | 640000
4 | 620000
14.3 | 383333
17 | 350000
80.3 | 24767
83.6 | 21433
90 | 17940
92 | 16133
100 | 13033
107.2 | 9627
115.6 | 7783
126.7 | 5857
137.8 | 4440
142.8 | 3923
149.4 | 3247
168.3 | 1988
190.6 | 1176
199.4 | 997
210 | 774
232.2 | 645